## GGTA_merged
filename | Notes | # Annual demand (TWh) | Annual Energy Losses (TWh) | PV Capacity (GW) | PV Avg Annual Gen (GWh) | Wind Capacity (GW) | Wind Avg Annual Gen (GWh) | Hydro Capacity (GW) | Hydro Avg Annual Gen (GWh) | Fossil Capacity (GW) | Fossil Generation (GWh) | Inter Capacity (GW) | Inter Generation (GWh) | PHES-PowerCap (GW) | PHES-EnergyCap (GWh) | CapDCO | CapDCS | CapAC | LCOE | LCOG | LCOB | LCOG_PV | LCOG_Wind | LCOG_Hydro | LCOG_Inter | LCOGFossil | LCOBS_PHES | LCOBT | LCOB_LossesSpillage
GGTA_KH_3_2000_2.csv | 100% availability | 69 | 0 | 53 | 77.8 | 2.7 | 9.8 | 1.4 | 1.5 | 0.6 | 0.3 | 0 | 0 | 19.3 | 367 | 0 | 0 | 1.1 | 78.1 | 38.9 | 39.2 | 40.5 | 22.9 | 50 | 0 | 100 | 26.7 | 1 | 11.5
GGTA_LA_3_500_2.csv | 100% availability | 30 | 0 | 1.5 | 2.2 | 5 | 18.2 | 4.3 | 15.2 | 1.88 | 0 | 0 | 0 | 1.1 | 11.1 | 0 | 0 | 1 | 47 | 35.6 | 11.4 | 42.4 | 22.8 | 50 | 0 | 100 | 2.6 | 2.2 | 6.7
GGTA_TH_3_500_2.csv | 100% availability | 208 | 0 | 27.4 | 37.2 | 42.1 | 158.2 | 3.9 | 19.5 | 34.2 | 48 | 0 | 0 | 13.9 | 143.1 | 0 | 0 | 8.7 | 60 | 41.5 | 18.4 | 43.9 | 22.2 | 50 | 0 | 100 | 4.8 | 2.7 | 11
GGTA_VH_3_2000_2.csv | 100% availability | 173 | 0 | 0 | 0 | 42.2 | 158.4 | 10.4 | 48.1 | 11.4 | 20.6 | 0 | 0 | 6.5 | 53.7 | 0 | 0 | 8.4 | 51.8 | 35.2 | 16.6 | 56 | 22.2 | 50 | 0 | 100 | 2.5 | 3.2 | 11
GGTA_VS_3_2000_2.csv | 100% availability | 173 | 0 | 19.1 | 26 | 35.5 | 135.1 | 10.4 | 31.9 | 11.4 | 21.8 | 0 | 0 | 12.7 | 128.2 | 0 | 0 | 7.3 | 53.4 | 36.6 | 16.8 | 43.8 | 21.9 | 50 | 0 | 100 | 5.2 | 2.7 | 8.9
Sum of the parts |  | 653 |  | 101.1 | 143.1 | 127.5 | 479.8 | 30.2 | 116.3 | 59.4 | 90.7 |  |  | 53.5 | 703.1 |  |  | 26.5 | [8 empty] | 41.6 | 11.8 | 49
GGTA_Super13_3_2000_2.csv | 100% availability | 653 | 4.06 | 976.8 | 1295.9 | 226.3 | 846 | 30.2 | 84.9 | 59.4 | 20.9 | 0 | 0 | 26.2 | 0.755 | 66.8 | 0 | 55 | 140.8 | 37.1 | 103.8 | 44.9 | 22.3 | 50 | 0 | 100 | 1.7 | 10.7 | 91.3
GGTA_Super13_3_2000_2 w reliability constraint relaxed |  | 653 | 3.538 | 962.7 | 1260 | 163.2 | 606.8 | 30.2 | 104.2 | 59.4 | 35.6 | 0 | 0 | 22.9 | 1.478 | 52.6 | 0 | 42.3 | 132.6 | 39.7 | 92.9 | 45.5 | 22.4 | 50 | 0 | 100 | 1.5 | 8.4 | 83
W no coal (still gas) |  | 653 | 4.206 | 1011.7 | 1332.2 | 305.1 | 1137.1 | 30.2 | 69.1 | 37.7 | 13.2 | 0 | 0 | 63.1 | 5.014 | 65.6 | 0 | 71.1 | 155.8 | 35.4 | 120.3 | 45.2 | 22.4 | 50 | 0 | 100 | 4.2 | 12.2 | 103.9
GGTA Super 13 3 1000 6 |  | 653 | 3.296 | 623.5 | 793.6 | 153.8 | 572.7 | 30.2 | 112.2 | 59.4 | 43.2 | 0 | 0 | 83.6 | 0.32 | 52.9 | 0 | 37 | 105.6 | 39.3 | 66.2 | 46.8 | 22.4 | 50 | 0 | 100 | 5.6 | 7.9 | 52.8
GGTA Super 13 3 1000 8 |  | 653 | 3.308 | 556.1 | 709.1 | 142.5 | 529.1 | 30.2 | 117.6 | 59.4 | 49 | 0 | 0 | 52.7 | 0.047 | 51.9 | 0 | 34.1 | 96.8 | 39.7 | 57.1 | 46.7 | 22.4 | 50 | 0 | 100 | 3.5 | 7.5 | 46.1